## CS
acquisition method | 年份 | 作者 | 优点 | 缺点 | 备注
Cartesian-based | 2016 | Thomas K€ustner | 1.no image reconstruction feedback at run time (prospective gating, triggering). 2.The randomness of the subsampling pattern (caused by sampling order of the trajectories and breathing pattern) allows a retrospective gating of acquired samples into their respective motion states with the help of an extracted self-navigation signal. 3.improved edge preservation compared with ordinary CS for the same subsampling factor |  | Self-Navigated 4D Cartesian Imaging of Periodic Motion in the Body Trunk Using Partial k-Space Compressed Sensing
radial | 2014 | Feng L | better image quality for moving objects than Cartesian trajectories | 1.reduced sampling efficiency compared with a Cartesian grid 2.limited by off-resonance effects from gradient imperfections | Golden-angle radial sparse parallel MRI: combination of compressed sensing, parallel imaging, and goldenangle radial sampling for fast and flexible dynamic volumetric
| 2011 | Chandarana H, |  |  | Free-breathing radial 3D fat-suppressed T1-weighted gradient echo sequence: a viable alternative for contrastenhanced liver imaging in patients unable to suspend respiration
| 2010 | Zhu Y, | limits temporal redundancy | 3D deformations | GOCART: GOlden-angle CArtesian randomized time-resolved 3D MRI
cart+radial | 2012 | Buerger C, |  | 1.the aforementioned methods rely on a regridding to Cartesian space in the reconstruction that may introduce additional errors, such as image blurring 2.no speed up via reduced field of view in the phase-encoding direction or the incorporation of partial Fourier was employed | Nonrigid motion modeling of the liver from 3-D undersampled self-gated golden-radial phase encoded
| 2016 | Cruz G, |  |  | Accelerated motion corrected three-dimensional abdominal MRI using total variation regularized SENSE reconstruction
| 2016 | Prieto C, |  |  | 3D undersampled golden-radial phase encoding for DCE-MRA using inherently regularized iterative SENSE
spiral | 2015 | Cheng JY | 1.scan time–efficient 2.motion-resolved imaging for retrospective motion correction | A tradeoff selection between random Cartesian subsampling and golden angle radial sampling | Free-breathing pediatric MRI with nonrigid motion correction and acceleration | variable density sampling and Butterfly navigator
| 2015 | Prieto C, |  |  | Highly efficient respiratory motion compensated freebreathing coronary MRA using golden-step Cartesian acquisition | 1-D navigator
| 2013 | Forman C, |  |  | Free-breathing whole-heart coronary MRA: motion compensation integrated into 3D cartesian compressed sensing reconstruction

## Sheet2
| 组 | 部位 | 成像类型 | NAV | 时间 | 作者 | title | cine/dimension | sequence | blood type（bright or black） | acquisition type | trajectory | motion type
| Reza Nezafat | Cardiac |  | respiratory navigators | 2013 |  | Utility of Respiratory-Navigator-Rejected k-Space Lines for Improved Signal-to-Noise Ratio in Three-Dimensional Cardiac MR
[5 empty] | 2014 |  | Free-Breathing Phase Contrast MRI with Near 100% Respiratory Navigator Efficiency Using k-Space-Dependent Respiratory Gating
|  |  |  | self-gated | 2011 |  | Motion Correction Using Coil Arrays (MOCCA) for Free-Breathing Cardiac Cine MRI | cine
|  |  |  | diaphragmatic navigators | 2011 |  | Compressed-Sensing Motion Compensation (CosMo): A Joint Prospective–Retrospective Respiratory Navigator for Coronary MRI
[5 empty] | 2013 |  | Free-Breathing 3D Cardiac MRI Using Iterative Image-Based Respiratory Motion Correction
[5 empty] | 2014 |  | Three-Dimensional Heart Locator for Whole-Heart Coronary Magnetic Resonance Angiography
|  | Pulmonary |  | right emidiaphragm projection navigator | 2011 |  | Pulmonary Vein Inflow Artifact Reduction for Free-Breathing Left Atrium Late Gadolinium Enhancement
| Claudia Prieto | Cardiac |  | image | 2016 |  | Highly Efficient Nonrigid Motion-Corrected 3D Whole-Heart Coronary Vessel Wall Imaging
|  |  |  | image | 2014 |  | Cardiac Functional Assessment without Electrocardiogram Using Physiological Self-Navigation
|  |  |  | startup profiles | 2012 |  | Whole-Heart Coronary MR Angiography With 2D Self-Navigated Image Reconstruction
|  |  |  | image based | 2013 |  | Motion Corrected Compressed Sensing for Free-Breathing Dynamic Cardiac MRI
|  |  |  | Model-Based Reconstruction | 2010 |  | Model-Based Reconstruction for Cardiac Cine MRI Without ECG or Breath Holding
|  | abdomen |  | TV-GMD | 2015 |  | Accelerated Motion Corrected Three-Dimensional Abdominal MRI Using Total Variation Regularized SENSE Reconstruction
|  | liver |  | compressive manifold learning (CML) | 2014 |  | Compressive Manifold Learning: Estimating One-Dimensional Respiratory Motion Directly from Undersampled k-Space Data
| Davide Piccini | Cardiac | Coronary |  | 2012 | Davide Piccini | Respiratory Self-Navigation for Whole-Heart Bright-Blood Coronary MRI: Methods for Robust Isolation and Automatic Segmentation of the Blood Pool | 3D | SSFP |  |  | radial
|  |  | Coronary MRA | it-SN | 2015 |  | An Iterative Approach to Respiratory Self-Navigated Whole-Heart Coronary MRA Significantly Improves Image Quality in a Preliminary Patient Study | [5 empty] | Respiratory
|  |  | Coronary MRA | SI projections | 2015 |  | Reduction of Respiratory Motion Artifacts for Free-Breathing Whole-Heart Coronary MRA by Weighted Iterative Reconstruction | [5 empty] | Respiratory
|  |  | Coronary MRA | XD-GRASP | 2016 | Davide Piccini | Four-Dimensional Respiratory Motion-Resolved Whole Heart Coronary MR Angiography | 4D |  |  |  | radial
|  | Cardiac | Coronary MRA | Image-Based | 2016 | Nii Okai Addy | 3D Image-Based Navigators for Coronary MR Angiography
|  |  | coronary MRA | Image-Based | 2016 | Jieying Luo | Nonrigid Motion Correction with 3D Image-Based Navigators for Coronary MR Angiography
| Dwight G. Nishimura |  |  |  | 2015 | R. Reeve Ingle | Self-Gated Fat-Suppressed Cardiac Cine MRI | cine
|  |  | coronary MRA | 2D iNAV (image-based) | 2014 | R. Reeve Ingle | Nonrigid Autofocus Motion Correction for Coronary MR Angiography with a 3D Cones Trajectory
|  |  | coronary MRA | image-based | 2013 | Holden H. Wu | Free-Breathing Multiphase Whole-Heart Coronary MR Angiography Using Image-Based Navigators and Three-Dimensional Cones Imaging
| Hu Peng | Cardiac |  | respiratory gating | 2015 |  | Four-Dimensional, Multiphase, Steady-State Imaging with Contrast Enhancement (MUSIC) in the Heart: A Feasibility Study in Children | 4D
|  |  |  | self-gated | 2016 |  | Self-Gated 4D Multiphase, Steady-State Imaging With Contrast Enhancement (MUSIC) Using Rotating Cartesian K-Space (ROCK): Validation in Children With Congenital Heart Disease | 4D
| Li DeBiao | Abdomen |  | self-gated | 2014 |  | Adaptive Online Self-Gating (ADIOS) for Free-Breathing Noncontrast Renal MR Angiography
|  |  |  | 1D projection based | 2015 |  | Four-Dimensional MRI Using Three-Dimensional Radial Sampling with Respiratory Self-Gating to Characterize Temporal Phase-Resolved Respiratory Motion in the Abdomen |  |  |  |  | radial | Respiratory
|  | Cardiac | MBF | image-based self-gated | 2015 |  | Quantification of Myocardial Blood Flow Using Non–ECG-Triggered MR Imaging
|  |  | MBF | image-based self-gated | 2016 |  | Quantification of Myocardial Blood Flow Using Non–Electrocardiogram-Triggered MRI with Three-Slice Coverage
|  |  | T2 Mapping | motion correction | 2015 |  | Free-Breathing, Motion-Corrected, Highly Efficient Whole Heart T2 Mapping at 3T with Hybrid Radial-Cartesian Trajectory |  |  |  |  | radial-cartesian
|  |  | Coronary MRA | motion correction | 2016 |  | High Efficiency Coronary MR Angiography with Nonrigid Cardiac Motion Correction | [5 empty] | nonrigid Cardiac
|  |  | Coronary MRA | one-dimensional selfnavigation | 2014 |  | Whole-Heart Coronary MRA with 100% Respiratory Gating Efficiency: Self-Navigated Three-Dimensional Retrospective Image-Based Motion Correction (TRIM) | 3D | TRIM |  |  |  | Respiratory
[5 empty] | 2011 |  | 3D Radial Sampling and 3D Affine Transform-based Respiratory Motion Correction Technique for Free-breathing Whole-Heart Coronary MRA with 100% Imaging Efficiency |  |  |  |  | radial
|  |  | Carotid Artery Wall | Projection-Based | 2012 |  | Prospective Self-Gating for Swallowing Motion: A Feasibility Study in Carotid Artery Wall MRI Using Three-Dimensional Variable-Flip-Angle Turbo Spin-Echo | 3D | TSE
|  |  | Myocardial Perfusion | image-based | 2015 |  | All-Systolic Non–ECG-gated Myocardial Perfusion MRI: Feasibility of Multi-Slice Continuous First-Pass Imaging | 2D
|  |  | Myocardial Perfusion | golden-angle radial acquisition | 2014 |  | Non–ECG-Gated Myocardial Perfusion MRI Using Continuous Magnetization-Driven Radial Sampling | 2D |  |  |  | radial
|  |  | Coronary MRA | 3D RSG Projection | 2009 |  | A Respiratory Self-Gating Technique with 3D-Translation Compensation for Free-Breathing Whole-Heart Coronary MRA
|  |  | Coronary MRA | 1D RSG Projection | 2008 |  | Respiratory Self-Gated Four-Dimensional Coronary MR Angiography: A Feasibility Study | 4D
|  |  |  | echo peak magnitude, kymogram, and 2D correlation | 2004 |  | Self-Gated Cardiac Cine MRI | cine
x | Matthias Stuber | heart | Coronary MRA | reconstruction | 2016 | Jer^ome Yerly | Coronary Endothelial Function Assessment Using Self-Gated Cardiac Cine MRI and k-t Sparse SENSE | cine |  |  | radial
√ |  |  | Coronary MRA |  | 2015 | Simone Coppo | Free-Running 4D Whole-Heart Self-Navigated Golden Angle MRI: Initial Results | 4D |  |  | radial
|  |  | T2 Mapping | oversamples the center of k-space | 2014 | Ruud B. van Heeswijk | Self-Navigated Isotropic Three-Dimensional Cardiac T2 Mapping | 3D
|  |  | Coronary MRA |  | 2015 | Andrew J. Coristine | Combined T2-Preparation and Two-Dimensional Pencil-Beam Inner Volume Selection
|  |  | Coronary MRA |  | 2016 | Giulia Ginami | An Iterative Approach to Respiratory Self-Navigated Whole-Heart Coronary MRA Significantly Improves Image Quality in a Preliminary Patient Study |  |  |  | 3D cones
| Upenn | heart |  | IMAGE-BASED | 2016 | Francisco Contijoch | Self-gated MRI of Multiple Beat Morphologies in the Presence of Arrhythmias |  |  |  | radial
| Wang Yi | heart | Coronary MRA | 2D Fat Image+PAWS | 2014 | Keigo Kawaji | Direct Coronary Motion Extraction from a 2D Fat Image Navigator for Prospectively Gated Coronary MR Angiography | 3D | SSFP |  | Cartesian |  | Coronary Motion
|  |  |  | k-space centre | 2010 | Jing Liu | Respiratory and Cardiac Self-Gated Free-Breathing Cardiac CINE Imaging With Multiecho 3D Hybrid Radial SSFP Acquisition | cine | SSFP |  | radial |  | both